## Sheet1
| NWF SQ | Te Rere Hau Repower | Aokautere Extension | TJV RP | Ratio TJV RP : NWF SQ | NWF SQ equity share of TJV RP | NWF SQ share of Yr 1-15 Revenue
Assumed Debt Funding (% of Assets/Capex) | 23.06% |  |  | 70%
Interest rate (% p.a.) |  |  |  | 8%
Term (years) |  |  |  | 15
"NWF SQ share" effectively depends on amount of debt | 76.94% |  |  |  |  | 27.94% | 0.4% to 4.4% | 0.3738%
Number of Turbines | 91 | 30 | 9 | 39 |  |  |  | 4.386%
Rotor Diameter | 33 | 132 | 132 | 132
Output per Turbine (MW) | 0.5 | 5 | 5 | 5
Max Output (MW) | 45.5 | 150 | 45 | 195 | 4.2857 | 54.4917 | 8.5522
Annual Energy Generation (P50) (GWh/yr) | 117 | 574 | 194 | 753 | 6.4359 | 210.4217 | 33.0246
Capacity Factor (P50) | 29.33% | 43.65% | 49.18% | 44.05%
Land area (ha) | 558 |  |  | 1207 | 2.1631
Wind farm's total turbine rotor swept area (ha) | 7.7832 | 41.0543 | 12.3163 | 53.3706 | 6.8571
Energy per swept area (GWh/yr/ha) | 15.0323 |  |  | 14.1089 | 0.93857
New Capex ($M) | 0 |  |  | 600 |  | 50.3 | 50.3
Gross Revenue ($M/yr) @ $92.50/MWh | 10.8225 |  |  | 69.6525 | 6.4359 | 19.464 | Not applicable
Opex ($/MWh) | 33 |  |  | 12
NWF Share of EBITDAF ($M/yr) - minimum | 3 |  |  | 25 | 8.3333 | 13.9722 | Not applicable
NWF Share of EBITDAF ($M/yr) - maximum | 6 |  |  | 30 | 5 | 16.7667 | Not applicable
Estimated interest and principal payments ($M/yr) | 1.2 | (Assumes table payments on 70% of new capex over 15 years at 8% p.a. interest) |  | 49.0684 | 40.8903 | Not applicable once debt paid off (after 15 years) | 13.7119
Revenue ($M/yr) after interest and principal payments | 9.6225 |  |  | 20.5841 | 2.1392 | Not applicable (as above) | 5.7521
NWF Share of Revenue ($M/yr) after interest and principal payments | 9.6225 |  |  | 10.292 | 1.0696 | Not applicable (as above) | 5.7521
NWF Share of EBT ($M/yr) - minimum | 1.8 |  |  |  |  | Not applicable (as above) | 0.26033
NWF Share of EBT ($M/yr) - maximum | 4.8 |  |  |  |  | Not applicable (as above) | 3.0548